In order to view and process the NMR spectra for you reductive amination intermediate and product, you will need to map your computer to the NMR server.

These directions have worked for the Chemistry graduate students, but if you have any problems, please contact your spectroscopy T.A., Katherine.  Her email address is houskc5@wfu.edu.

- Right click on the “My Computer” icon on your desktop

- Choose “Map Network Drive”

- In the “Folder” field of the window that pops up, type:

\\10.121.251.10\archive

4.  Click on “Connect Using a Different User Name”

5.  Set the user name to:

advanced

6.  Set the password to:

larmor1

- Click on “OK” then click “Finished”

After mapping your computer to the NMR server, you will need to download and install the software.

- Go to http://www.mestrec.com/updates/tmp/MestReC4995.zip

- Download the zip file

- Open the zip file and run the software installation

- When prompted for the “key” enter the following information:

Name: Wake Forest University

Key: 4549-5D24-2EF6-FAF2

- Note: WFU has a 50 user site license of MestRe-C for processing NMR data.  Please do not wait until the last minute to analyze a spectrum in case we have hit our user limit.

To process your NMRs you need to open the spectra in the MestRe-C software on your laptop.

- Click on the “Shortcut to MestRe-C.exe” icon on your desktop. An empty blue field will show up.

- Go to “File”  “Open” and go up in your folders to your Desktop and double click on “My Computer”

- Click on “archive on 'Samba Server (10.121.251.10)'” and enter the password (larmor1); this will bring up the NMR files that are available to open

- Start looking for your file by double clicking on “300 Current”  “data” “Chm 222L”  “nmr”

- Your files are organized by your TA’s name and the day your have lab: double click on the appropriate folder.  Make sure that the “Files of Type” field says, “all files,” otherwise, when you get to the fid, it will not appear in the window.

- Your spectra will be in the folder corresponding to the number your were assigned during class when you prepared your NMR tubes, click on the appropriate numbered folder and then double click on “fid” to bring up your spectra

- If you don’t find your file in the “300 current” folder, go back up one level, and click on the “500 current” folder and follow steps 4-6 in the “500 current” folder

Once you have opened the spectra, you will need to process it into the form with which you are familiar.

- When you click on “fid,” two tabs will appear, click on the tab with your number on it

- To apply the Fourier Transform, click on the “FT” icon in the middle of the top of your screen; this icon also has a blue triangle-like object on it.  If you accidentally click on the downward pointing arrow beside the “FT” icon, you can simply click “Fourier Transform…” and you get the same menu

- When the FFT window appears, click “Apply along t1” only

- Now click the “auto” icon that is two icons to the right of the “FT” button and has a green line on it, this will auto-phase your data.  If you click on the downward pointing arrow beside the “auto” icon, simply click “Automatic Phase Correction (Simplex Method)” and the same operation will occur

- To calibrate your data to the chloroform peak, click the “TMS” icon, two icons to the right of the “auto” icon, now center the cursor on the chloroform peak’s topmost point, and click.  When the “Reference” window appears, scroll down to chloroform and click on the “chloroform” appropriate to the spectra you are processing.

- The next icon to the right is the peak picking icon, click on this icon, and drag a box around the peak whose shift you want to label.  You may pick one or several at a time

- Click on the next icon to the right to integrate your proton peaks (no integration for carbon NMR): click to the left of the peak you want to integrate and drag to the right the same distance along the base line as your original click was from the peak.  The first integration you do will be calibrated to 1.00 and all other integrations will be based on this calibration.  If you happened to integrate a peak that was more than one proton, double click on the 1.00 and change the number in the field to the appropriate number of protons.

- The turquoise “+” and “-“ icons make the peaks taller or shorter and the two icons with magnifying glasses on them allow you to zoon in and out.

- More specific instructions for using this software can be found in the three page MestRe-C instructions handout.

- Katherine’s advice is to save your spectra as soon as you transform and auto phase it.  File  Save As… and then name it whatever you want, but remember to save it on YOUR hard drive not in the NMR folders.